## SBBInfo
Source File: LSM_Log_20230928_211205_IAB_2.xlsx
Setting | SBB 1
SBox IP | 192.168.176.50
Model | IA146B-U
Serial Number | 0LGJHNRTA00003W
Main Version | SL-PTMWWC-1003.0
Additional Versions
Device Name (0x67) | NULL
IMEI | NULL
Input Source | Unknown
Power Status | Unknown
Status Error | Unknown
MAC Address | 81:63:30:32:33:38
Network IP Mode | Unknown
Group 1 IP | 192.168.176.101
Group 2 IP | 192.168.176.102
Group 3 IP | 192.168.176.103
Group 4 IP | 192.168.176.104
Video Wall Mode | Off
Video Offset | 2 x 2
Cabinet Layout | 1920 x 4320
SBox Output Resolution | 960 x 2160
Cabinet Resolution | 960x2160

## CabInfo
Source File: LSM_Log_20230928_211205_IAB_2.xlsx
Cabinet Summary
Total Cabs | Most Common Model | Most Common Main FW | Most Common FPGA FW | Avg Temp | Max Temp | Min Temp
4 | NULL | AM3352IABS000U-20220428.0 | U060IABTF146-0803512431 | 59.5 | 62 | 57
SBox: 192.168.176.50 (Total Cabinets: 4)
SBox IP | Group IP | Cab ID | Serial# | Model# | Cabinet FW | Cabinet FPGA | Temp(c) | BackLt | Cab RGB CC | Mod RGB CC | Pix RGB CC | Seam Cor | Video Loc
192.168.176.50 | 192.168.176.101 | 2 | 0LGJHNRTA00003W | NULL | AM3352IABS000U-20220428.0 | U060IABTF146-0803512431 | 62 |  | On | On | On | Off | 0x0
192.168.176.50 | 192.168.176.102 | 2 | 0LGJHNRTA00003W | NULL | AM3352IABS000U-20220428.0 | U060IABTF146-0803512431 | 59 |  | On | On | On | Off | 0x1080
192.168.176.50 | 192.168.176.103 | 2 | 0LGJHNRTA00003W | NULL | AM3352IABS000U-20220428.0 | U060IABTF146-0803512431 | 60 |  | On | On | On | Off | 1920x0
192.168.176.50 | 192.168.176.104 | 2 | 0LGJHNRTA00003W | NULL | AM3352IABS000U-20220428.0 | U060IABTF146-0803512431 | 57 |  | On | On | On | Off | 1920x1080

## CabLayouts
SBox: 192.168.176.50
Grp: 1 ID: 2 0x0 | Grp: 3 ID: 2 1920x0
Grp: 2 ID: 2 0x1080 | Grp: 4 ID: 2 1920x1080